Outfalls and Points of Discharge Table 1

City of Swartz Creek

| ID # | Outfall/POD | Receiving Water | Latitude | Longitude | Priority | Priority Explanation |
| --- | --- | --- | --- | --- | --- | --- |
| 6503760 | Outfall | Swartz Creek- West Branch of | -83.8581 | 42.94459 | Medium | Residential |
| 6503761 | Outfall | Swartz Creek- West Branch of | -83.8577 | 42.94461 | Low | Mostly undeveloped |
| 6503762 | Outfall | Swartz Creek- West Branch of | -83.8533 | 42.94514 | Medium | Residential |
| 6503763 | Outfall | Swartz Creek- West Branch of | -83.853 | 42.94539 | Medium | Residential |
| 6503764 | Outfall | Swartz Creek- West Branch of | -83.8514 | 42.94624 | Medium | Residential |
| 6502510 | Outfall | Swartz Creek- West Branch 0122 | -83.8499 | 42.94686 | Medium | Residential |
| 6502004 | Outfall | Swartz Creek- West Branch 0122 | -83.847 | 42.94931 | Medium | Residential |
| 6502150 | Outfall | Swartz Creek- West Branch 0122 | -83.8452 | 42.95086 | Medium | Residential |
| 6502002 | Outfall | Swartz Creek- West Branch 0122 | -83.8422 | 42.95239 | Medium | Residential |
| 6502260 | Outfall | Swartz Creek- West Branch 0122 | -83.8409 | 42.95279 | Medium | Residential |
| 6502261 | Outfall | Swartz Creek- West Branch 0122 | -83.8348 | 42.95377 | Medium | Residential |
| 6501004 | Point of Discharge | Swartz Creek- West Branch of | -83.8299 | 42.95575 | #Low | Sampled downstream as #6501105 |
| 6501104 | Outfall | Swartz Creek- West Branch 0122 | -83.8288 | 42.95522 | Medium | Residential |
| 6501003 | Point of Discharge | Swartz Creek- West Branch of | -83.8277 | 42.9557 | #Low | Sampled downstream as #6501007 |
| 6502010 | Point of Discharge | Swartz Creek- West Branch of | -83.8375 | 42.95673 | #Low | Sampled downstream as #6502255 |
| 6502011 | Point of Discharge | Swartz Creek- West Branch of | -83.8375 | 42.95597 | #Low | Sampled downstream as #6502255 |
| 6502012 | Point of Discharge | Swartz Creek- West Branch of | -83.8375 | 42.95589 | #Low | Sampled downstream as #6502255 |
| 6502013 | Point of Discharge | Swartz Creek- West Branch of | -83.8375 | 42.95533 | #Low | Sampled downstream as #6502255 |
| 6502014 | Point of Discharge | Swartz Creek- West Branch of | -83.8375 | 42.95469 | #Low | Sampled downstream as #6502255 |
| 6502015 | Point of Discharge | Swartz Creek- West Branch of | -83.8375 | 42.95391 | #Low | Sampled downstream as #6502255 |
| 7536751 | Point of Discharge | Swartz Creek- West Branch of | -83.8114 | 42.96445 | #Low | Sampled downstream as #7631603 |
| 7536251 | Point of Discharge | Swartz Creek- West Branch of | -83.8115 | 42.96779 | #Low | Sampled downstream as #7631603 |
| 7536252 | Point of Discharge | Swartz Creek- West Branch of | -83.8115 | 42.96778 | #Low | Sampled downstream as #7631603 |
| 7631001 | Point of Discharge | Swartz Creek- West Branch 0122 | -83.8088 | 42.96733 | Medium | Residential |
| 7536253 | Point of Discharge | Swartz Creek- West Branch of | -83.8115 | 42.96914 | #Low | Sampled downstream as #7631603 |
| 7525751 | Point of Discharge | Swartz Creek- West Branch of | -83.8115 | 42.97395 | #Low | Sampled downstream as #7631603 |
| 7525752 | Point of Discharge | Swartz Creek- West Branch of | -83.8115 | 42.97196 | #Low | Sampled downstream as #7631603 |
| 7536254 | Point of Discharge | Swartz Creek- West Branch of | -83.8115 | 42.96755 | #Low | Sampled downstream as #7631603 |
| 7631002 | Point of Discharge | Swartz Creek- West Branch 0122 | -83.8111 | 42.96564 | Medium | Residential |
| 7631003 | Point of Discharge | Swartz Creek- West Branch 0122 | -83.8099 | 42.96522 | Medium | Residential |
| 7534751 | Point of Discharge | Sprague Drain | -83.8506 | 42.95748 | #Low | Sampled downstream as #7535501 |
| 6502001 | Outfall | Swartz Creek- West Branch 0122 | -83.8406 | 42.95278 | Medium | Residential |
| 6501301 | Outfall | Swartz Creek- West Branch 0122 | -83.8214 | 42.95678 | Medium | Residential |
| 6501102 | Outfall | Swartz Creek- West Branch 0122 | -83.8216 | 42.95663 | Low | Mostly undeveloped |
| 6501302 | Outfall | Swartz Creek- West Branch 0122 | -83.8214 | 42.9567 | Excluded | Mostly undeveloped |
| 6501103 | Outfall | Swartz Creek- West Branch 0122 | -83.8217 | 42.95673 | Low | Mostly undeveloped |
| 6502257 | Outfall | Swartz Creek- West Branch 0122 | -83.8359 | 42.95358 | Medium | Residential |
| 7631004 | Outfall | Swartz Creek- West Branch 0122 | -83.8048 | 42.96719 | Medium | Residential |
| 7629501 | Point of Discharge | Swartz Creek- West Branch 0122 | -83.786 | 42.97267 | #Low | Sampled downstream as #7632415 |
| 7632001 | Point of Discharge | Swartz Creek- West Branch 0122 | -83.7868 | 42.97246 | #Low | Sampled downstream as #7632416 |
| 7629502 | Point of Discharge | Swartz Creek- West Branch 0122 | -83.7895 | 42.97257 | #Low | Sampled downstream as #7632415 |
| 7631251 | Outfall | Swartz Creek- West Branch 0122 | -83.7951 | 42.96912 | Medium | Residential |
| 7632002 | Point of Discharge | Swartz Creek- West Branch 0122 | -83.7859 | 42.97252 | #Low | Sampled downstream as #7632415 |
| 7632251 | Outfall | Swartz Creek- West Branch 0122 | -83.7817 | 42.97232 | Medium | Residential |
| 6502356 | Outfall | Swartz Creek- West Branch 0122 | -83.8344 | 42.95373 | Medium | Residential |
| 6502354 | Outfall | Swartz Creek- West Branch 0122 | -83.8335 | 42.9539 | Medium | Residential |
| 6502287 | Point of Discharge | Swartz Creek- West Branch of | -83.8351 | 42.95147 | #Low | Sampled downstream as #6502294 |
| 6502286 | Point of Discharge | Swartz Creek- West Branch of | -83.835 | 42.95147 | #Low | Sampled downstream as #6502294 |
| 6502288 | Point of Discharge | Swartz Creek- West Branch of | -83.8352 | 42.95226 | #Low | Sampled downstream as #6502294 |
| 6502289 | Point of Discharge | Swartz Creek- West Branch of | -83.8327 | 42.95227 | #Low | Sampled downstream as #6502294 |
| 6502290 | Point of Discharge | Swartz Creek- West Branch of | -83.8325 | 42.95227 | #Low | Sampled downstream as #6502294 |
| 6502291 | Point of Discharge | Swartz Creek- West Branch of | -83.8321 | 42.95228 | #Low | Sampled downstream as #6502294 |
| 6501006 | Point of Discharge | Swartz Creek- West Branch of | -83.8319 | 42.95324 | #Low | Sampled downstream as #6502293 |
| 6502285 | Point of Discharge | Swartz Creek- West Branch of | -83.8319 | 42.95207 | #Low | Sampled downstream as #6502294 |
| 6502262 | Point of Discharge | Swartz Creek- West Branch of | -83.832 | 42.95604 | #Low | Sampled downstream as #6502351 |
| 6502251 | Point of Discharge | Swartz Creek- West Branch of | -83.8347 | 42.95653 | #Low | Sampled downstream as #6502355 |
| 6502252 | Point of Discharge | Swartz Creek- West Branch of | -83.8346 | 42.95601 | #Low | Sampled downstream as #6502355 |
| 6502253 | Point of Discharge | Swartz Creek- West Branch of | -83.8347 | 42.9571 | #Low | Sampled downstream as #6502355 |
| 6502254 | Point of Discharge | Swartz Creek- West Branch of | -83.8344 | 42.95582 | #Low | Sampled downstream as #6502355 |
| 6502283 | Point of Discharge | Swartz Creek- West Branch of | -83.8359 | 42.95706 | #Low | Sampled downstream as #6502292 |
| 6502284 | Point of Discharge | Swartz Creek- West Branch of | -83.8358 | 42.95579 | #Low | Sampled downstream as #6502292 |
| 6502265 | Point of Discharge | Swartz Creek- West Branch of | -83.8394 | 42.95325 | #Low | Sampled downstream as #6502256 |
| 6502266 | Point of Discharge | Swartz Creek- West Branch of | -83.8394 | 42.95385 | #Low | Sampled downstream as #6502256 |
| 6502267 | Point of Discharge | Swartz Creek- West Branch of | -83.8394 | 42.95469 | #Low | Sampled downstream as #6502256 |
| 6502268 | Point of Discharge | Swartz Creek- West Branch of | -83.8394 | 42.95527 | #Low | Sampled downstream as #6502256 |
| 6502269 | Point of Discharge | Swartz Creek- West Branch of | -83.8394 | 42.95528 | #Low | Sampled downstream as #6502256 |
| 6502270 | Point of Discharge | Swartz Creek- West Branch of | -83.8394 | 42.95653 | #Low | Sampled downstream as #6502256 |
| 6502271 | Point of Discharge | Swartz Creek- West Branch of | -83.8395 | 42.957 | #Low | Sampled downstream as #6502256 |
| 6502264 | Point of Discharge | Swartz Creek- West Branch of | -83.8395 | 42.95702 | Medium | Residential |
| 6502272 | Point of Discharge | Swartz Creek- West Branch of | -83.8408 | 42.95686 | #Low | Sampled downstream as #6502454 |
| 6502273 | Point of Discharge | Swartz Creek- West Branch of | -83.8408 | 42.95655 | #Low | Sampled downstream as #6502454 |
| 6502274 | Point of Discharge | Swartz Creek- West Branch of | -83.8408 | 42.95592 | #Low | Sampled downstream as #6502454 |
| 6502275 | Point of Discharge | Swartz Creek- West Branch of | -83.8408 | 42.95526 | #Low | Sampled downstream as #6502454 |
| 6502276 | Point of Discharge | Swartz Creek- West Branch of | -83.8407 | 42.95526 | #Low | Sampled downstream as #6502454 |
| 6502278 | Point of Discharge | Swartz Creek- West Branch of | -83.8407 | 42.95335 | #Low | Sampled downstream as #6502454 |
| 6502277 | Point of Discharge | Swartz Creek- West Branch of | -83.8407 | 42.95429 | #Low | Sampled downstream as #6502454 |
| 6501005 | Point of Discharge | Swartz Creek- West Branch of | -83.83 | 42.95648 | #Low | Sampled downstream as #6501105 |
| 6501002 | Point of Discharge | Swartz Creek- West Branch of | -83.8277 | 42.95616 | #Low | Sampled downstream as #6501007 |
| 6501001 | Point of Discharge | Swartz Creek- West Branch of | -83.8277 | 42.95673 | #Low | Sampled downstream as #6501007 |
| 7536501 | Point of Discharge | Swartz Creek- West Branch of | -83.8295 | 42.95734 | #Low | Sampled downstream as #7536505 |
| 7536503 | Point of Discharge | Swartz Creek- West Branch of | -83.8288 | 42.95783 | #Low | Sampled downstream as #7536505 |
| 7536504 | Point of Discharge | Swartz Creek- West Branch of | -83.8288 | 42.9582 | #Low | Sampled downstream as #7536505 |
| 6501108 | Outfall | Swartz Creek- West Branch 0122 | -83.8309 | 42.95449 | Medium | Commercial |

Outfall list was updated April of 2022 and submitted as part of Reporting Cycle.

Priorities and Priority Explanations were updated March 2023 for new permit cycle.