| **Applicant Owned/ Operated Facility**  **Swartz Creek Community Schools** | **Address or Parcel ID of Facility**  8197 Miller Rd | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or outfall | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative High School & Administration Buildings | 8354 Cappy Lane | Low | 6 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Vehicle & Equipment storage | On Site Middle & High School Property | High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Dieck Elementary | 2239 Van Vleet Rd | Medium | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Elms Elementary | 3259 Elms Rd | Low | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Morrish Elementary | 5055 Maple Rd | Low | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Swartz Creek High School | One Dragon Dr | Medium | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Swartz Creek Middle School | 8230 Fairchild St | Medium | 12 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Syring Elementary | 5300 Oakview Dr | Low | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Gains Elementary-Not in the urbanized Area | 300 Lansing St. | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |
| Undeveloped-Vacant Property | Sharp Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**

**Updated October 2016**