| **Applicant Owned/ Operated Facility**  **Flushing Schools** | **Address or Parcel ID of Facility** | **Potential to discharge pollutants to surface waters of the state.** | Catch basins |  | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration Buildings | N Mckinley Rd | Low | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Vehicle & Equipment storage | N Seymour Rd | High | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Central Elementary | 525 Coutant St | Low | 14 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Elms Elementary | N Elm Rd | Low | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Flushing High School | 5039 Deland Rd | Low | 25 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | N/A |
| Flushing Jr High School | 409 Chamberlain St | Low | 10 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Flushing Middle School | 8100 Carpenter Rd | Medium | 25 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Seymour Elementary | N Seymour Rd | Medium | 20 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | N/A |
| Springview Elementary | Springview | Medium | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Vacant Property-Morrish Rd | Morrish Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |
| Vacant Property-N McKinley Rd | N McKinley Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |
| Vacant Property-Nichols Rd | Nichols Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**