| **Applicant Owned/ Operated Facility****Carman-Ainsworth Schools** | **Address or Parcel ID of Facility**G-3475 W. Court St.Flint, Mi | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or outfall | Detention basins | Oil/water separators  | Pump Stations  | Secondary containment  | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration Buildings | W. Court St. | Low | 9 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Vehicle & Equipment storage | Van Slyke RD on Middle School property | High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |
| Middle School | Van Slyke Rd. | Medium | 36 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| High School | N. Linden Rd. | Low | 44 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Dye Elementary | Granham Rd | Low | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Fenton Lawn Resource Center | Fenton Lawn Dr. | Low | 13 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Gladys Dillon Elementary | E. Shumacher St | Medium | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Randels Elementary | Brobeck St. | Low | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Ranking Elementary | Wise St. | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Stalker Comm. Center | Burnell Ave. | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Woodland Elementary | Beveridge Rd | Low | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Undeveloped | Reid Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Undeveloped | Brewer Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Equipment storage and maintenance facilities | Van Slyke Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, No stormwater structures |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**

**Updated October 2016**