| **Applicant Owned/ Operated Facility**  **Bentley Community Schools** | **Address or Parcel ID of Facility**  1150 N Belsay  Burton, Mi 48509 | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or Outfall | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration Buildings | On grounds of High/Middle School | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | \*See High / Middle School |
| Bus Garages/Vehicle Storage | On Grounds of High/Middle School | High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Surface runoff |
| Bentley High / Middle School | N. Belsay Rd. | Medium | 20 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Barhitte Elementary | Blanch St. | Low | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**