City of Davison, Michigan

Stormwater Pollution Prevention Initiative (SWPPI) for the

Upper Flint River Watershed

Middle Flint River Watershed

Michigan General Permit Number MIG619000

- Certificate of Coverage Number 	MIG610063

Municipality/Agency:	City of Davison

Address:	200 East Flint Street, PO Box 130, Davison MI 48423

Contact Person: Michael Hart			Telephone:	810-653-2191

Title:	City Manager				Date:	11 June 2008	   	   October 17, 2011

Signature of Authorized Permittee Representative: 					______

: Mayor

TABLE OF CONTENTS

Acronyms	2

1.0	General Information	2

1.1	Watershed Management Plan Disagreements	2

1.2	Participating Permittees in the Watershed	3

1.3	SWPPI Requirements	3

1.4	Satisfying the SWPPI Requirements	5

1.5	SWPPI Goals and Objectives	5

2.0 Watershed Planning Organization	5

3.0 Measurable Goals	6

4.0 Funding of the Phase II Requirements	7

5.0 Actions	8

## Acronyms

The following is a list of acronyms and definitions that are useful for understanding the contents of this report:

COC	Certificate of Coverage

IDEP	Illicit Discharge Elimination Plan

MDEQ	Michigan Department of Environmental Quality

PEP	Public Education Plan

PPP	Public Participation Plan

SWPPI	Storm Water Pollution Prevention Initiative

TMDL	Total Maximum Daily Load

WMP	Watershed Management Plan

## General Information

Genesee Township is located within 3 watersheds.  This SWPPI is being submitted for the Middle, Lower and the Upper Flint River Watersheds.

This Storm Water Pollution Prevention Initiative (SWPPI) has been prepared for the communities within Genesee County to comply with the Phase II Storm Water National Pollutant Discharge Elimination System (NPDES) general permit requirement led by the Genesee County Drain Commissioner’s Office of Surface Water Management.  The goals, objectives, and actions listed in the SWPPI were developed in compliance with the Public Participation Plan (PPP) requirements.

### Watershed Management Plan Disagreements

Some communities may have disagreements to certain items in the Watershed Management Plan (WMP).

Action 1.a.3. City of Davison is willing to support a countywide ordinance managed by the County but is not willing to adopt & enforce our own ordinance.  The State gave the County authority over the septic systems and the Genesee County Health Department is the department that enforces building and enforcement.

Objective 1.a. removed.  City does not have septic.

Objective 1.c added to SWPPI. The City uses PA 230 of 1972, the Michigan Building Code to enforce the removal of storm systems from their sanitary system, not an actual ordinance.  Although it is their intent to enforce storm disconnection from sanitary, it is not their intent to adopt a new ordinance.

Objective 1.d added.  City has existing wellhead program.

6.e.1, 2 & 4: commitment added.

7.a.5 added.

7.b.6: Long term O & M on private property is done through enforcement of the maintenance agreements as defined in the storm water ordinance.

Dates on the Action table have been changed from the WMP  to reflect the changes to the timeline.

### Participating Permitees in the Watershed

The Phase II communities from the Upper or Middle Flint River Watershed are as follows:

| - Municipality | - COC | - Municipality | COC |
| --- | --- | --- | --- |
| - City of Burton | - MIG610060 | - Flint Township | - MIG610066 |
| - City of Davison | - MIG610063 | - Genesee Township | - MIG610073 |
| - City of Fenton | - MIG610065 | - Grand Blanc Township | MIG610076 |
| - City of Grand Blanc | - MIG610075 | - Mt. Morris Township | MIG610082 |
| - City of Swartz Creek | - MIG610086 | - Mundy Township | MIG610083 |
| - Clayton Township | - MIG610062 | - Genesee County | MIG610072 |
| - Davison Township | - MIG610089 | - Oakland County |  |
| - Fenton Township | - MIG610064 |  |  |

### SWPPI Requirements

The NPDES Phase II General Permit requirements can be found at http://www.deq.state.mi.us/ documents/deq-water-generalpermit-npdes-MIG619000.pdf on the world-wide web. The Permit requirements state that the submission of a SWPPI shall, at a minimum, include the following:

1)	The actions required of the permitee in the WMP in accordance with the dates specified, taking into account any specific disagreements to the WMP which were provided by the permitee and included in the appendix to the WMP.  (Note:  if the WMP requirement has been deferred until a later time, as indicated on the certificate of coverage, the SWPPI shall initially be developed without consideration of the WMP.)

2)	The evaluation and implementation of pollution prevention and good housekeeping activities, as appropriate.  This item shall include a training and inspection program for staff and contractors employed by the permitee in activities that may affect storm water runoff.

The permitee shall include the following activities for inclusion in the SWPPI, or explain why the activities do not apply:

- maintenance activities, maintenance schedules, and inspection procedures for storm water structural controls to reduce pollutants (including floatables) in discharges from the permitee's separate storm water drainage system;

- controls for reducing or eliminating the discharges of pollutants from streets, roads, highways, parking lots, and maintenance garages;

- procedures for the proper disposal of operation and maintenance waste from the separate storm water drainage system (dredge spoil, accumulated sediments, floatables, and other debris);

- ways to ensure that flood management projects assess the impacts on the water quality of the receiving waters and, whenever possible, examine existing water quantity structures for incorporation of additional water quality protection devices or practices; and

- implementation of controls to reduce the discharge of pollutants related to application of pesticides, herbicides, and fertilizers applied in the permittee's regulated area.

- The development, implementation, and enforcement of a comprehensive storm water management program for post-construction controls for areas of new development and significant redevelopment.  The goal is to protect the designated uses in the receiving water from the effects commonly associated with urbanization.  These effects include: “flashiness” (higher peak flows and lower base flows), stream-bank erosion, increased stream temperature and pollutant load, reduced bank vegetation, and degraded fish and other aquatic habitats.

The permittee shall evaluate and implement site appropriate, cost-effective structural and nonstructural best management practices (BMPs) that prevent or minimize the impacts on water quality.  Common controls for urbanization include:  policies and ordinances to direct growth to identified areas, to limit the rate and volume of storm water discharged to pre-developmental hydrologic levels, to protect sensitive areas such as wetlands and riparian areas, and to maintain and/or increase open spaces (including a dedicated funding source for open space acquisition); encouraging infill development in higher density urban areas and areas with existing infrastructure; establishing in-stream maximum flow targets designed to minimize stream bank erosion and maintain healthy aquatic populations; and coordinating release volumes and rates from detention basins to achieve in-stream maximum flow targets. These controls shall have associated requirements for their long-term operation and maintenance to retain the level of water quality protection over time.

- The methods of assessing progress in storm water pollution prevention.

### Satisfying the SWPPI Requirements

Section 4 of this document presents in tabular form the long and short term action items that will satify the objectives and goals identified in the WMP.  Each action item includes information on who is leading the efforts, time and material estimates to complete the task, the schedule and the measurable for each action (satisfying requirement 1 as presented above).  The methods of assessing progress (requirement 4 above) is addressed in two locations; Section 3 and the table in Section 5.

### SWPPI Goals and Objectives

Through the WMP effort, five goals were developed and ranked by committee members, stakeholders and the public.  The goals are presented in Section 6 of the Watershed Management Plan and are summarized below.

Goal #1: Protect Public Health

Goal #2: Establish a Watershed Stewardship Ethic Among the Public

Goal #3: Reduce Impact from Peak Flow

Goal #4: Create, Restore, and Enhance Recreational Uses

Goal #5: Restore and Protect Aquatic Life, Wildlife, and Habitat

Goal #6: Conduct Municipal Good Housekeeping Activities

Goal #7: Adopt requirements for Post Construction Controls

Goal #8: Opportunities for Sustainability

## 2.0 Watershed Planning Organization

### Committee Organization

The following section discusses the decision making process used to develop the watershed management plan and SWPPI table.  The committee structure is used to accomplish many of the actions in the SWPPI and is discussed below.

Genesee County Stormwater Advisory Committee

This committee is made up of all the Communities in Genesee County that signed a 342 contract with the Genesee County Drain Commissioner, including non-phase II communities.  This committee guides the implementation of the entire Phase II Program and has three main sub-committees set up to address specific issues.  Each Phase II Community serves on at least one sub-committee.  A brief explanation of the duties of these sub-committees follows.

##### Public Education and Participation Sub-Committee

The Public Education and Participation Sub-Committee guides the overall Public Education and Participation Process for the Watershed Management Planning effort.

##### Construction Standards and Practices Sub-Committee

The Construction Standards and Practices Sub-Committee examines new construction standards and post construction practices for Genesee County.  They will work to update existing ordinances to make sure that consistency and EPA elements are met.

##### Monitoring and Mapping Sub-Committee

The Monitoring and Mapping Sub-Committee guides organization and implementation of the illicit discharge elimination program (IDEP), mapping guidelines, field-sampling protocols, and how the watershed will be monitored for progress.

Local government leaders will share their insights and views of the watershed throughout the project at workshops and meetings, as well as at other formal and informal exchanges. The value of such insights should not be underestimated and are important to a plan development process led at the local level.

The Upper, Lower and Middle Flint River As well as the Shiawassee River Management Plans identified Goals, objectives and action items that addressed the goals and objectives. See the respective water shed management plans for details.

The members of the Genesee County Communities elected to continue to work together wherever possible in addressing the action items. As such, the three technical committees discussed above are charged with addressing the action items.

Although all the action items will initially be addressed by the four committees and

Genesee County, the City of Davison acknowledges that they are ultimately responsible for

ensuring that the action items are completed within the City itself.

The shaded action items listed in the WMP were actions that the individual permitees were responsible for. It was up to each permitee to determine the level of involvement, if any, that they would have with these shaded action items.

## 3.0 Measurable Goals

Evaluation methods for measuring success are presented in the Watershed Management Plan Section 9 and are summarized below and in Table 1.

Measurable uses include:

- Completion of  Activity

Simply stated, this means that the activity has been completed. See the “Evaluation Mechanism” column in Section 4.0’s SWPPI table for details.

- Measure of Usage

Measurable Usage tracks the number of completed activities and how much they were used, i.e. the number brochures distributed, the number of website hits, etc.  See the “Evaluation Mechanism” column in Section 4.0’s SWPPI table for details.

- Behavior Change and/or Knowledge Change

The pubic education committee developed and administered a baseline survey to assess public knowledge of the NPDES Phase II requirements.  The survey was administered by phone and a written version was submitted to municipalities.  The public education committee intends to use the survey results to guide public education efforts.  Once the public education program has been in effect for 2 to 3 years it is the intent of the committee to re-administer the survey to determine if there has been any change in public knowledge and behavior.  We anticipate the survey to be administered early to mid way through the next permit cycle.

- Changes in Water Quality

Water quality assessment is the analysis of water quality data to draw conclusions on the condition of or changes to the condition of receiving waters or discharges to those waters.  The water quality assessment provides a way to assess the attainment of direct measures of success.  Long-term assessment is also necessary to ensure that seasonal, annual, and other variables can be identified and are considered when interpreting the results.

Four watershed monitoring methods will be used throughout the watershed to help evaluate the effectiveness of WMP implementation.  Additional detail is available in Section 7 of the WMP.  The four methods include the following:

- Benthic macroinvertebrate monitoring (Objective 2e)

- Stream crossing watershed survey and photographs

- Water quality monitoring (Objective 2f and State Monitoring Program)

- Hot spot testing at hazardous sites (IDEP)

These items are included as Actions in the table in Section 4.0.

## 4.0 FUNDING OF THE PHASE II REQUIREMENTS

In 2003 all the Communities (except the City of Flint) in Genesee County have entered into a County Public Improvement Agreement (P.A. 342) with the Genesee County.  The Genesee County Drain Commissioner’s office was designated the agency to manage this agreement/ contract.  The first task was to prepare a watershed based application for each community including the County to apply for a NPDES Phase II permit. Subsequently once school districts were required to participate, the County agreed to nested jurisdictions for those schools that wished to sign agreements.  All of Genesee County’s School districts have signed contracts with the Drain Commissioner’s Office to be nested jurisdictions under The County’s Certificate of Coverage. The P.A. 342 agreement will expire in 2008 to coincide with the expiration of each community’s Certificate of Coverage.  Also the Nested Jurisdiction agreements are expiring in 2008.

Under the 342 agreement, the Drain Commission is responsible for establishing just, equitable and uniform rates, charges, or assessments to pay for the preparation and implementation of the watershed permit. Communities contracting with the Drain Commission may use the following five methods of raising funds to pay for services:

- Annual property tax levy;

- Special assessment on property;

- Rates or charges to service users;

- Tax revenue from the state; and

- Other funds, which may validly be used for the contract purpose.

*currently most of the communities are taking these funds from their general fund.

The current contract yields $500,000 annually with $80,000 being apportioned to the Public Education Planning effort, $40,000 to the Monitoring and Mapping Committee, and the remainder to the Illicit Discharge Connection Program (IDEP) and other initiatives. Many of the items contained in the 5.0 Action section refer to E342C under the “Cost Estimate” columns. Where this acronym is listed, the associated action will be paid for through funds derived from this contract.

## 5.0 Actions

The attached table provides the activities from the Watershed Management Plan (WMP) that, when implemented, meet the SWPPI requirements. The participating permitees are those permitted municipal entities which are required to address storm water through their SWPPI document. The supporting agencies listed in the table are also drawn from the WMP.

In the “Labor Hour & Material Cost Estimates” column there is a reference to E342C. The presents of the E342C acronym indicates that the related action item will be paid for out of the Municipalities’ current County Public Improvement Agreement (P.A. 342) with the Genesee County Drain Commissioner’s office. For more information please see Section 4.0: Funding of the Phase II Requirements.

In the SWPPI table below each permitee has several option of on how to respond to each action. The choices are as follows:

E = Existing/currently doing

C = Commitment*

“-“ = No Commitment, with explanation in the comment section.

W = Wish List

NA = Not applicable, with explanation in the comment section.

* If the action is to be undertaken in the short-term (before March 31, 2009 June 1, 2012), a date (month/year) indicating when the task will begin is provided in the “permitee schedule” column. If the action is to be undertaken in the long-term then the year the task is to be begin is provided in the “permitee schedule” column.  For wish list items a date is not provided.

Dates on the Action table have been changed to reflect the changes to the timeline.  Some of those timelines have been extended due to a review by the state has taken longer than expected or due to the 2008 permit being withdrawn.