| Facility Name | Address/Crossroads | Located in MS4 or Combined System | Amount of Urban Pollutants & Type | Proximity to Waterbodies | Potential for Pollutant Runoff (High, Medium, Low) | Discharge of Pollutants of Concern to Impaired Waters | Priority Cleaning Schedule |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Administration Building |  | MS4 | Road salt, sediment, fertilizers/pesticides |  | Medium | Salt, Sediment, Fertilizers/Pesticides runoff to storm sewer system | Medium |
| Public Works Building Complex |  | MS4 | Road salt, sediment, oil, chemicals |  | High | Salt, Sediment runoff to storm sewer system | High |
| Police Station |  | MS4 | Road salt, sediment |  | Low | Salt, Sediment runoff to storm sewer system | Low |
| Fire Station |  | MS4 | Road salt, sediment |  | Low | Salt, Sediment runoff to storm sewer system | Low |
| ______________ Park |  | MS4 | Road salt, sediment, chlorine |  | High | Road salt, sediment, chlorine runoff to Lake St. Clair | High |
| ______________ Park |  | MS4 | Road salt, sediment, Fertilizers/pesticides |  | Medium | Salt, Sediment, Fertilizers/Pesticides runoff to storm sewer system | Medium |
| XX Catch Basins |  | MS4 |  | Varies | N/A | Salt, Sediment, Oils, Leaves, Fertilizers/Pesticides runoff to storm sewer system | High |
| City Streets & Lots |  | MS4 |  | Varies | N/A | Salt, Sediment, Oils, Leaves, Fertilizers/Pesticides runoff to storm sewer system | Medium |
| XX Permittee-Owned Outfalls |  | MS4 | Road salt, sediment, Fertilizers/pesticides, | Varies | N/A | Salt, Sediment, Oils, Leaves, Fertilizers/Pesticides | High |