Outfalls and Points of Discharge Table 1

City of Grand Blanc

| ID # | Outfall/POD | Receiving Water | Latitude | Longitude | Schedule  Year | Priority |
| --- | --- | --- | --- | --- | --- | --- |
| 6709751 | Outfall | Thread Creek | 42.93699 | -83.6379 | 3 | Normal |
| 6710506 | Outfall | Thread Creek | 42.93274 | -83.6279 | 3 | Normal |
| 6710504 | Outfall | Thread Creek | 42.93363 | -83.6293 | 3 | Normal |
| 6710520 | Outfall | Thread Creek | 42.93458 | -83.6295 | 3 | Normal |
| 6715010 | Outfall | Mancour Drain 1061 | 42.93028 | -83.6316 | 3 | Normal |
| 6716751 | Outfall | Layman Drain 0385 | 42.91674 | -83.6367 | 3 | Normal |
| 6716762 | Outfall | Layman Drain 0385 | 42.91858 | -83.6396 | 3 | Normal |
| 6716763 | Outfall | Layman- Crosby Branch of 0710 | 42.91839 | -83.6359 | 3 | Normal |
| 6716764 | Outfall | Layman- Crosby Branch of 0710 | 42.91836 | -83.6336 | 3 | Normal |
| 6716760 | Outfall | Layman Drain 0385 | 42.91811 | -83.6336 | 3 | Normal |
| 6715510 | Outfall | Layman- Crosby Branch of 0710 | 42.91696 | -83.6311 | 3 | Normal |
| 6715512 | Outfall | Layman- Crosby Branch of 0710 | 42.91689 | -83.6284 | 3 | Normal |
| 6715511 | Outfall | Layman- Crosby Branch of 0710 | 42.9169 | -83.6292 | 3 | Normal |
| 6715513 | Outfall | Layman- Crosby Branch of 0710 | 42.91592 | -83.6272 | 3 | Normal |
| 6715514 | Outfall | Layman- Crosby Branch of 0710 | 42.91601 | -83.6246 | 3 | Normal |
| 6710521 | Outfall | Thread Creek | 42.93732 | -83.6292 | 3 | Normal |
| 6710508 | Outfall | Thread Creek | 42.93118 | -83.6263 | 3 | Normal |
| 6710513 | Outfall | Thread Creek | 42.93117 | -83.6263 | 3 | Normal |
| 6710512 | Outfall | Thread Creek | 42.93133 | -83.6264 | 3 | Normal |
| 6715003 | Outfall | Thread Creek | 42.92938 | -83.6265 | 3 | Normal |
| 6715004 | Outfall | Thread Creek | 42.92939 | -83.6265 | 3 | Normal |
| 6715005 | Outfall | Thread Creek | 42.92915 | -83.6251 | 3 | Normal |
| 6715252 | Outfall | Thread Creek | 42.92696 | -83.6198 | 3 | Normal |
| 6715505 | Outfall | Layman Drain 0385 | 42.92467 | -83.6222 | 3 | Normal |
| 6715506 | Outfal | Layman Drain 0385 | 42.92282 | -83.6247 | 3 | Normal |
| 6715515 | Outfal | Layman Drain 0385 | 42.92307 | -83.6244 | 3 | Normal |
| 6715516 | Outfal | Layman Drain 0385 | 42.92305 | -83.6244 | 3 | Normal |
| 6715262 | Outfall | Thread Creek | 42.92531 | -83.6172 | 3 | Normal |
| 6714501 | Outfall | Thread Creek | 42.9235 | -83.6095 | 3 | Normal |
| 6723004 | Outfall | Perry Drain 1132 | 42.91646 | -83.6021 | 3 | Normal |
| 6723005 | Outfall | Perry Drain 1132 | 42.91605 | -83.6022 | 3 | Normal |
| 6714753 | Outfall | Bush Drain | 42.91917 | -83.5948 | 3 | Normal |
| 6714754 | Outfall | Bush Drain 0007 | 42.92053 | -83.5947 | 3 | Normal |
| 6714755 | Outfall | Bush Drain 0007 | 42.92233 | -83.5953 | 3 | Normal |
| 6714756 | Outfall | Bush Drain 0007 | 42.92279 | -83.5962 | 3 | Normal |
| 6714256 | Outfall | Bush Drain 0007 | 42.92594 | -83.5987 | 3 | Normal |
| 6714009 | Outfall | Bush Drain 0007 | 42.92675 | -83.603 | 3 | Normal |
| 6714253 | Outfall | Bush Drain 0007 | 42.9249 | -83.5979 | 3 | Normal |
| 6714757 | Outfall | Bush Drain 0007 | 42.92378 | -83.5967 | 3 | Normal |
| 6715257 | Outfall | Thread Creek | 42.92707 | -83.6135 | 3 | Normal |
| 6715263 | Outfall | Thread Creek | 42.92754 | -83.6145 | 3 | Normal |
| 6715264 | Outfall | Thread Creek | 42.92696 | -83.6159 | 3 | Normal |
| 6711751 | Outfall | Thread Creek | 42.93345 | -83.6011 | 3 | Normal |
| 6711756 | Outfall | Thread Creek | 42.93482 | -83.601 | 3 | Normal |
| 6716255 | Outfall | Mancour Drain 1061 | 42.92743 | -83.6344 | 3 | Normal |
| 6716256 | Outfall | Mancour Drain 1061 | 42.92751 | -83.6342 | 3 | Normal |
| 6716257 | Outfall | Mancour Drain 1061 | 42.92618 | -83.634 | 3 | Normal |
| 6715515 | Outfall | Layman Drain 0385 | 42.92344 | -83.6248 | 3 | Normal |
| 6715265 | Outfall | Thread Creek | 42.92867 | -83.615 | 3 | Normal |
| 6715504 | Outfall | Layman Drain 0385 | 42.92398 | -83.6222 | 3 | Normal |
| 6722251 | Outfall | Smith Lake 0710 | 42.91469 | -83.6195 | 3 | Normal |
| 6710514 | Outfall | Thread Creek | 42.93134 | -83.6264 | 3 | Normal |

Priorities were revised Feb 2024 for new permit cycle / IDEP.

Pursuant to the revised IDEP and discussions with EGLE staff, the following POD’s have been removed and are being tested at the downstream outfall. If an Illicit discharge is found, upstream POD’s will be tested as needed based on source tracking.

* 6714010
* 6716258
* 6716253
* 6716251
* 6716252
* 6716761
* 6716254