Outfalls and Points of Discharge Table 1

Fenton Township

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ID # | Outfall/POD | Receiving Water | Latitude | Longitude | ScheduleYear  | Priority |
| 5611253 | Outfall | Lake Fenton | 42.85496 | -83.7163 | 5 | Normal |
| 5611257 | Outfall | Lake Fenton | 42.85557 | -83.7165 | 5 | Normal |

Outfall list was updated June 2023 based on Field observations (emailed to EGLE 1/30/24)

Priorities were revised Feb 2024 for new permit cycle / IDEP.

Pursuant to the revised IDEP and discussions with EGLE staff, the following POD’s have been removed and are being tested at the downstream outfall. If an Illicit discharge is found, upstream POD’s will be tested as needed based on source tracking.

* 5611251
* 5611252
* 5611254
* 5611255
* 5611258
* 5621503
* 5632251